## Raw DVR Data
Data [min:sec] | Data [min:sec]
Experiement | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 13 |  | 14 |  | 15 |  | 16 |  | 17 |  | 18 |  | 19 |  | 20 |  | 21 |  | 22 |  | 23 |  | 24
Ignition Time [min:sec] | 0 | 0 | 0 | 0 | 5 | 5 | 0 | 0 | 0 | 0 | 2 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Open Front Door Time [min:sec] | 8 | 17 | 7 | 5 | 13 | 32 | 8 | 25 | 6 | 57 | 9 | 3 | 7 | 59 | 5 | 56 | 5 | 26 | 5 | 27 | 5 | 27 | 6 | 20 | 5 | 56 | 5 | 40 | 6 | 25 |  |  | 5 | 23 | 5 | 27 | 5 | 35 | 8 | 58 | 7 | 22 | 6 | 25 | 6 | 7 | 5 | 41 | 6 | 16
Open Window Time [min:sec] | 30 | 22 | 11 | 36 | 17 | 40 | 8 | 44 |  |  | 12 | 50 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Enter Structure Time [min:sec] | 26 | 47 | 7 | 17 | 13 | 33 | 8 | 37 |  |  | 9 | 15 | 8 | 13 | 6 | 7 | 5 | 39 | 5 | 38 | 5 | 38 | 6 | 30 | 13 | 28 | 5 | 51 | 6 | 38 | 5 | 40 | 5 | 33 | 10 | 30 | 5 | 42 | 9 | 9 | 7 | 34 | 7 | 5 | 6 | 11 | 5 | 48 | 6 | 29
Positioned at Top of Hallway Time [min:sec] | 26 | 53 | 7 | 27 | 13 | 42 | 8 | 47 |  |  | 9 | 26 | 8 | 22 | 6 | 16 | 5 | 49 | 5 | 48 | 5 | 47 | 6 | 41 | 13 | 35 | 6 | 2 | 6 | 46 | 5 | 47 | 5 | 42 | 10 | 40 | 5 | 49 | 9 | 17 | 7 | 38 | 7 | 10 | 6 | 20 | 6 | 2 | 6 | 36
Positioned at End of Hallway Time [min:sec] |  |  | 8 | 7 | 14 | 23 | 9 | 12 |  |  | 9 | 58 | 8 | 54 | 6 | 38 | 6 | 21 | 6 | 7 | 6 | 19 | 7 | 4 | 14 | 13 | 6 | 45 | 7 | 36 | 6 | 27 | 6 | 8 | 11 | 29 | 6 | 4 | 9 | 30 | 7 | 52 | 7 | 24 | 7 | 3 | 6 | 37 | 6 | 50
Short Burst Time [min:sec] |  |  | 7 | 21 | [8 empty] | 8 | 17 | 6 | 12 | 5 | 44 | 5 | 44 | 5 | 44 | 6 | 38 | 13 | 31 | 5 | 56 | 6 | 41 | 5 | 43 | 5 | 37 | 10 | 35 | 5 | 45 | 9 | 14 |  |  |  |  | 6 | 15 | 5 | 55
Short Burst End Time [min:sec] | [12 empty] | 8 | 19 | 6 | 14 | 5 | 46 | 5 | 45 | 5 | 45 | 6 | 39 | 13 | 32 | 5 | 57 | 6 | 42 | 5 | 45 | 5 | 38 | 10 | 37 | 5 | 46 | 9 | 15 |  |  |  |  | 6 | 16 | 5 | 56
Open Time [min:sec] | [12 empty] | 8 | 27 |  |  | 5 | 53 | 5 | 53 | 5 | 53 | 6 | 48 | 13 | 40 | 6 | 12 | 6 | 50 |  |  | 5 | 49 | 10 | 47 | 6 | 7
Close Time [min:sec] | [12 empty] | 8 | 33 |  |  | 6 | 0 |  |  | 6 | 0 |  |  | 13 | 46 |  |  | 6 | 57
Open Time [min:sec] | [12 empty] | 8 | 40 |  |  | 6 | 7 |  |  | 6 | 7 | [6 empty] | 7 | 4
Close Time [min:sec] | [12 empty] | 8 | 47 |  |  | 6 | 14 |  |  | 6 | 13 | [6 empty] | 7 | 13
Open Time [min:sec] | [12 empty] | 8 | 57 |  |  | 6 | 24 |  |  | 6 | 22 | [6 empty] | 7 | 20
Close Time [min:sec] | [28 empty] | 7 | 31
Transitional - Window B1 Burst Time [min:sec] | [36 empty] | 5 | 25 | 8 | 30 | 6 | 52 | 6 | 44 | 5 | 42 |  |  | 5 | 28
Transitional - Window B1 Burst End Time [min:sec] | [36 empty] | 5 | 35 | 8 | 37 |  |  | 6 | 50 | 5 | 54
Transitional - Window B1 Whip Time [min:sec] | [38 empty] | 8 | 38 |  |  | 6 | 52 | 5 | 57 | 5 | 25
Transitional - Window B1 Whip End Time [min:sec] | [38 empty] | 8 | 48 |  |  | 6 | 58 | 6 | 4 | 5 | 40 | 5 | 41
Transitional - Window B2 Burst Time [min:sec] | [48 empty] | 5 | 57
Transitional - Window B2 Burst End Time [min:sec] | [48 empty] | 6 | 3
Transitional - Window B2 Whip Time [min:sec] | [48 empty] | 6 | 3
Transitional - Window B2 Whip End Time [min:sec] | [48 empty] | 6 | 10
Data [sec] | Data [sec]
Experiement | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 13 |  | 14 |  | 15 |  | 16 |  | 17 |  | 18 |  | 19 |  | 20 |  | 21 |  | 22 |  | 23 |  | 24
Ignition Time [sec] | 0 |  | 0 |  | 305 |  | 0 |  | 0 |  | 128 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Open Front Door Time [sec] | 497 |  | 425 |  | 812 |  | 505 |  | 417 |  | 543 |  | 479 |  | 356 |  | 326 |  | 327 |  | 327 |  | 380 |  | 356 |  | 340 |  | 385 |  |  |  | 323 |  | 327 |  | 335 |  | 538 |  | 442 |  | 385 |  | 367 |  | 341 |  | 376
Open Window Time [sec] | 1822 |  | 696 |  | 1060 |  | 524 |  |  |  | 770 |  | 540
Enter Structure Time [sec] | 1607 |  | 437 |  | 813 |  | 517 |  |  |  | 555 |  | 493 |  | 367 |  | 339 |  | 338 |  | 338 |  | 390 |  | 808 |  | 351 |  | 398 |  | 340 |  | 333 |  | 630 |  | 342 |  | 549 |  | 454 |  | 425 |  | 371 |  | 348 |  | 389
Positioned at Top of Hallway Time [sec] | 1613 |  | 447 |  | 822 |  | 527 |  |  |  | 566 |  | 502 |  | 376 |  | 349 |  | 348 |  | 347 |  | 401 |  | 815 |  | 362 |  | 406 |  | 347 |  | 342 |  | 640 |  | 349 |  | 557 |  | 458 |  | 430 |  | 380 |  | 362 |  | 396
Positioned at End of Hallway Time [sec] |  |  | 487 |  | 863 |  | 552 |  |  |  | 598 |  | 534 |  | 398 |  | 381 |  | 367 |  | 379 |  | 424 |  | 853 |  | 405 |  | 456 |  | 387 |  | 368 |  | 689 |  | 364 |  | 570 |  | 472 |  | 444 |  | 423 |  | 397 |  | 410
Short Burst Time [sec] | 0 |  | 441 | [9 empty] | 497 |  | 372 |  | 344 |  | 344 |  | 344 |  | 398 |  | 811 |  | 356 |  | 401 |  | 343 |  | 337 |  | 635 |  | 345 |  | 554 | [5 empty] | 375 |  | 355
Short Burst End Time [sec] | [12 empty] | 499 |  | 374 |  | 346 |  | 345 |  | 345 |  | 399 |  | 812 |  | 357 |  | 402 |  | 345 |  | 338 |  | 637 |  | 346 |  | 555 | [5 empty] | 376 |  | 356
Open Time [sec] | [12 empty] | 507 |  |  |  | 353 |  | 353 |  | 353 |  | 408 |  | 820 |  | 372 |  | 410 |  |  |  | 349 |  | 647 |  | 367
Close Time [sec] | [12 empty] | 513 |  |  |  | 360 |  |  |  | 360 |  |  |  | 826 |  |  |  | 417
Open Time [sec] | [12 empty] | 520 |  |  |  | 367 |  |  |  | 367 | [7 empty] | 424
Close Time [sec] | [12 empty] | 527 |  |  |  | 374 |  |  |  | 373 | [7 empty] | 433
Open Time [sec] | [12 empty] | 537 |  |  |  | 384 |  |  |  | 382 | [7 empty] | 440
Close Time [sec] | [28 empty] | 451
Transitional - Window B1 Burst Time [sec] | [36 empty] | 325 |  | 510 |  | 412 |  | 404 |  | 342 |  |  |  | 328
Transitional - Window B1 Burst End Time [sec] | [36 empty] | 335 |  | 517 |  |  |  | 410 |  | 354
Transitional - Window B1 Whip Time [sec] | [38 empty] | 518 |  |  |  | 412 |  | 357 |  | 325
Transitional - Window B1 Whip End Time [sec] | [38 empty] | 528 |  |  |  | 418 |  | 364 |  | 340 |  | 341
Transitional - Window B2 Burst Time [sec] | [48 empty] | 357
Transitional - Window B2 Burst End Time [sec] | [48 empty] | 363
Transitional - Window B2 Whip Time [sec] | [48 empty] | 363
Transitional - Window B2 Whip End Time [sec] | [48 empty] | 370
DVR Data: Initial time shifted to match ignition | DVR Data: Initial time shifted to match ignition
Experiement | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 13 |  | 14 |  | 15 |  | 16 |  | 17 |  | 18 |  | 19 |  | 20 |  | 21 |  | 22 |  | 23 |  | 24
Ignition Time [sec] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Open Front Door Time [sec] | 497 |  | 425 |  | 507 |  | 505 |  | 415 |  | 479 |  | 356 |  | 326 |  | 327 |  | 327 |  | 380 |  | 356 |  | 340 |  | 385 |  |  |  | 323 |  | 327 |  | 335 |  | 538 |  | 442 |  | 385 |  | 367 |  | 341 |  | 376
Open Window Time [sec] | 1822 |  | 696 |  | 756 |  | 524 |  | 642 |  | 540
Enter Structure Time [sec] | 1607 |  | 437 |  | 508 |  | 517 |  | 427 |  | 493 |  | 367 |  | 339 |  | 338 |  | 338 |  | 390 |  | 808 |  | 351 |  | 398 |  | 340 |  | 333 |  | 630 |  | 342 |  | 549 |  | 454 |  | 425 |  | 371 |  | 348
Positioned at Top of Hallway Time [sec] | 1613 |  | 447 |  | 517 |  | 527 |  | 438 |  | 502 |  | 376 |  | 349 |  | 348 |  | 347 |  | 401 |  | 815 |  | 362 |  | 406 |  | 347 |  | 342 |  | 640 |  | 349 |  | 557 |  | 458 |  | 430 |  | 380 |  | 362 |  | 389
Positioned at End of Hallway Time [sec] |  |  | 487 |  | 558 |  | 552 |  | 470 |  | 534 |  | 398 |  | 381 |  | 367 |  | 379 |  | 424 |  | 853 |  | 405 |  | 456 |  | 387 |  | 368 |  | 689 |  | 364 |  | 570 |  | 472 |  | 444 |  | 423 |  | 397 |  | 396
Short Burst Time [sec] | 1615 |  | 441 | [7 empty] | 497 |  | 372 |  | 344 |  | 344 |  | 344 |  | 398 |  | 811 |  | 356 |  | 401 |  | 343 |  | 337 |  | 635 |  | 345 |  | 554 | [5 empty] | 375 |  | 355 |  | 410
Short Burst End Time [sec] | [10 empty] | 499 |  | 374 |  | 346 |  | 345 |  | 345 |  | 399 |  | 812 |  | 357 |  | 402 |  | 345 |  | 338 |  | 637 |  | 346 |  | 555 | [5 empty] | 376 |  | 356
Open Time [sec] | [10 empty] | 507 |  |  |  | 353 |  | 353 |  | 353 |  | 408 |  | 820 |  | 372 |  | 410 |  |  |  | 349 |  | 647 |  | 367
Close Time [sec] | [10 empty] | 513 |  |  |  | 360 |  |  |  | 360 |  |  |  | 826 |  |  |  | 417
Open Time [sec] | [10 empty] | 520 |  |  |  | 367 |  |  |  | 367 | [7 empty] | 424
Close Time [sec] | [10 empty] | 527 |  |  |  | 374 |  |  |  | 373 | [7 empty] | 433
Open Time [sec] | [10 empty] | 537 |  |  |  | 384 |  |  |  | 382 | [7 empty] | 440
Close Time [sec] | [26 empty] | 451
Transitional - Window B1 Burst Time [sec] | [34 empty] | 325 |  | 510 |  | 412 |  | 404 |  | 342
Transitional - Window B1 Burst End Time [sec] | [34 empty] | 335 |  | 517 |  |  |  | 410 |  | 354 |  |  |  | 328
Transitional - Window B1 Whip Time [sec] | [36 empty] | 518 |  |  |  | 412 |  | 357 |  | 325
Transitional - Window B1 Whip End Time [sec] | [36 empty] | 528 |  |  |  | 418 |  | 364 |  | 340
Transitional - Window B2 Burst Time [sec] | [46 empty] | 341
Transitional - Window B2 Burst End Time [sec] | [46 empty] | 357
Transitional - Window B2 Whip Time [sec] | [46 empty] | 363
Transitional - Window B2 Whip End Time [sec] | [46 empty] | 363

## Raw GoPro Data
Data [min:sec] | Data [min:sec]
Experiment | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 13 |  | 14 |  | 15 |  | 16 |  | 17 |  | 18 |  | 19 |  | 20 |  | 21 |  | 22 |  | 23 |  | 24
Front Door Open Time [min:sec] |  |  | 10 | 25 | 2 | 29 | 14 | 13 | 8 | 5 | 9 | 48 | 6 | 35 | 6 | 59 | 8 | 19 | 2 | 40 | 5 | 43 | 0 | 11 | 4 | 48 | 10 | 46 | 5 | 9 | 6 | 22 | 8 | 55 |  |  | 9 | 33 | 13 | 18 | 6 | 5
Enter Structure Time [min:sec] | 10 | 33 | 10 | 38 | 2 | 31 | 14 | 26 | 8 | 17 | 10 | 2 | 6 | 47 | 7 | 11 | 8 | 30 | 2 | 51 | 5 | 54 | 7 | 42 | 5 | 0 | 10 | 59 | 5 | 10 | 6 | 31 | 13 | 58 | 10 | 14 | 9 | 45 | 13 | 29 | 6 | 44 | 10 | 35 | 15 | 41 | 14 | 12
Positioned at Top of Hallway Time [min:sec] | [42 empty] | 10 | 44 | 15 | 48
Positioned at End of Hallway Time [min:sec] | [42 empty] | 11 | 11 | 16 | 15
Short Burst Time [min:sec] |  |  | 10 | 43 | 2 | 35 | 14 | 30 | 8 | 23 | 10 | 7 | 6 | 52 | 7 | 17 | 8 | 36 | 2 | 57 | 6 | 1 | 7 | 46 | 5 | 3 | 11 | 3 | 5 | 14 | 6 | 36 | 14 | 3 | 10 | 18 | [6 empty] | 10 | 39
Short Burst End Time [min:sec] |  |  | 10 | 44 | 2 | 36 | 14 | 31 | 8 | 25 | 10 | 8 | 6 | 53 | 7 | 18 | 8 | 37 | 2 | 58 | 6 | 2 | 7 | 47 | 5 | 4 | 11 | 4 | 5 | 15 | 6 | 37 | 14 | 5 | 10 | 19 | [6 empty] | 10 | 40
Open Time [min:sec] | 10 | 42 | 10 | 56 | 2 | 47 | 14 | 43 | 8 | 35 | 10 | 16 | 7 | 3 | 7 | 25 | 8 | 45 | 3 | 6 | 6 | 11 | 7 | 54 | 5 | 19 | 11 | 11 | 5 | 26 | 6 | 47 | 14 | 15 | 10 | 39 | 10 | 9 |  |  |  |  | 10 | 48 | 15 | 51
Close Time [min:sec] | 10 | 48 | 11 | 33 | 2 | 57 | 15 | 17 | 8 | 44 | 10 | 23 | 7 | 35 | 7 | 32 | 9 | 7 | 3 | 13 | 6 | 40 | 8 | 1 | 6 | 2 | 11 | 18 | 5 | 32 | 7 | 26 | 15 | 27 | 10 | 45 | 10 | 16 |  |  |  |  | 10 | 58 | 15 | 59
Open Time [min:sec] | 10 | 54 |  |  | 3 | 5 |  |  | 9 | 3 | 10 | 30 |  |  | 7 | 40 |  |  | 3 | 20 |  |  | 8 | 6 |  |  | 11 | 25 | 5 | 39 | [12 empty] | 11 | 12 | 16 | 15
Close Time [min:sec] | 10 | 58 |  |  | 3 | 13 |  |  | 9 | 16 | 10 | 37 |  |  | 7 | 47 |  |  | 3 | 27 |  |  | 8 | 40 |  |  | 11 | 34 | 5 | 48 | [12 empty] | 11 | 22 | 16 | 32
Open Time [min:sec] | 11 | 3 |  |  | 3 | 24 |  |  |  |  | 10 | 46 |  |  | 7 | 56 |  |  | 3 | 35 | [6 empty] | 11 | 42 | 5 | 57 | [12 empty] | 11 | 30 | 16 | 41
Close Time [min:sec] | 11 | 8 |  |  | 3 | 34 |  |  |  |  | 10 | 56 |  |  | 8 | 5 |  |  | 3 | 47 | [6 empty] | 11 | 51 | 6 | 14 | [12 empty] | 11 | 35 | 16 | 52
Transitional - Window B1 Burst Time [min:sec] | [34 empty] | 9 | 57 | 9 | 5 | 12 | 48 | 6 | 24 | 10 | 6 | 15 | 17 | 13 | 11
Transitional - Window B1 Burst End Time [min:sec] | [34 empty] | 10 | 8 | 9 | 12 | 12 | 51 | 6 | 30 | 10 | 18 | 15 | 34 | 13 | 16
Transitional - Window B1 Whip Time [min:sec] | [36 empty] | 9 | 14 | 12 | 54 | 6 | 32 | 10 | 22 |  |  | 13 | 18
Transitional - Window B1 Whip End Time [min:sec] | [36 empty] | 9 | 24 | 13 | 1 | 6 | 38 | 10 | 28 |  |  | 13 | 23
Transitional - Window B2 Burst Time [min:sec] | [46 empty] | 13 | 40
Transitional - Window B2 Burst End Time [min:sec] | [46 empty] | 13 | 46
Transitional - Window B2 Whip Time [min:sec] | [46 empty] | 13 | 48
Transitional - Window B2 Whip End Time [min:sec] | [46 empty] | 13 | 54
Additional Tranisitonal - Window B1 Burst FOG Time [min:sec] | [36 empty] | 6 | 0
Additional Tranisitonal - Window B1 Burst FOG End Time [min:sec] | [36 empty] | 6 | 11
Data [sec] | Data [sec]
Experiment | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 13 |  | 14 |  | 15 |  | 16 |  | 17 |  | 18 |  | 19 |  | 20 |  | 21 |  | 22 |  | 23 |  | 24
DVR Open Front Door Time [sec] | 497 |  | 425 |  | 507 |  | 505 |  | 416 |  | 479 |  | 356 |  | 326 |  | 327 |  | 327 |  | 380 |  | 356 |  | 340 |  | 385 |  |  |  | 323 |  | 327 |  | 335 |  | 538 |  | 442 |  | 385 |  | 367 |  | 341 |  | 376
Front Door Open Time [sec] |  |  | 625 |  | 149 |  | 853 |  | 485 |  | 588 |  | 395 |  | 419 |  | 499 |  | 160 |  | 343 |  | 11 |  | 288 |  | 646 |  | 309 |  | 382 |  | 535 |  |  |  | 573 |  | 798 |  | 365
DVR Enter Structure Time [sec] | 1607 |  | 437 |  | 508 |  | 517 |  | 427 |  | 493 |  | 367 |  | 339 |  | 338 |  | 338 |  | 390 |  | 808 |  | 351 |  | 398 |  | 340 |  | 333 |  | 630 |  | 342 |  | 549 |  | 454 |  | 425 |  | 371 |  | 348 |  | 389
Enter Structure Time [sec] | 633 |  | 638 |  | 151 |  | 866 |  | 497 |  | 602 |  | 407 |  | 431 |  | 510 |  | 171 |  | 354 |  | 462 |  | 300 |  | 659 |  | 310 |  | 391 |  | 838 |  | 614 |  | 585 |  | 809 |  | 404 |  | 635 |  | 941 |  | 852
Short Burst Time [sec] |  |  | 643 |  | 155 |  | 870 |  | 503 |  | 607 |  | 412 |  | 437 |  | 516 |  | 177 |  | 361 |  | 466 |  | 303 |  | 663 |  | 314 |  | 396 |  | 843 |  | 618 | [7 empty] | 639
Short Burst End Time [sec] |  |  | 644 |  | 156 |  | 871 |  | 505 |  | 608 |  | 413 |  | 438 |  | 517 |  | 178 |  | 362 |  | 467 |  | 304 |  | 664 |  | 315 |  | 397 |  | 845 |  | 619 | [7 empty] | 640
Open Time [sec] | 642 |  | 656 |  | 167 |  | 883 |  | 515 |  | 616 |  | 423 |  | 445 |  | 525 |  | 186 |  | 371 |  | 474 |  | 319 |  | 671 |  | 326 |  | 407 |  | 855 |  | 639 |  | 609 | [5 empty] | 648 |  | 951
Close Time [sec] | 648 |  | 693 |  | 177 |  | 917 |  | 524 |  | 623 |  | 455 |  | 452 |  | 547 |  | 193 |  | 400 |  | 481 |  | 362 |  | 678 |  | 332 |  | 446 |  | 927 |  | 645 |  | 616 | [5 empty] | 658 |  | 959
Open Time [sec] | 654 |  |  |  | 185 |  |  |  | 543 |  | 630 |  |  |  | 460 |  |  |  | 200 |  |  |  | 486 |  |  |  | 685 |  | 339 | [13 empty] | 672 |  | 975
Close Time [sec] | 658 |  |  |  | 193 |  |  |  | 556 |  | 637 |  |  |  | 467 |  |  |  | 207 |  |  |  | 520 |  |  |  | 694 |  | 348 | [13 empty] | 682 |  | 992
Open Time [sec] | 663 |  |  |  | 204 | [5 empty] | 646 |  |  |  | 476 |  |  |  | 215 | [7 empty] | 702 |  | 357 | [13 empty] | 690 |  | 1001
Close Time [sec] | 668 |  |  |  | 214 | [5 empty] | 656 |  |  |  | 485 |  |  |  | 227 | [7 empty] | 711 |  | 374 | [13 empty] | 695 |  | 1012
Transitional - Window B1 Burst Time [sec] | [34 empty] | 597 |  | 545 |  | 768 |  | 384 |  | 606 |  | 917 |  | 791
Transitional - Window B1 Burst End Time [sec] | [34 empty] | 608 |  | 552 |  | 771 |  | 390 |  | 618 |  | 934 |  | 796
Transitional - Window B1 Whip Time [sec] | [36 empty] | 554 |  | 774 |  | 392 |  | 622 |  |  |  | 798
Transitional - Window B1 Whip End Time [sec] | [36 empty] | 564 |  | 781 |  | 398 |  | 628 |  |  |  | 803
Transitional - Window B2 Burst Time [sec] | [46 empty] | 820
Transitional - Window B2 Burst End Time [sec] | [46 empty] | 826
Transitional - Window B2 Whip Time [sec] | [46 empty] | 828
Transitional - Window B2 Whip End Time [sec] | [46 empty] | 834
Additional Tranisitonal - Window B1 Burst FOG Time [sec] | [36 empty] | 360
Additional Tranisitonal - Window B1 Burst FOG End Time [sec] | [36 empty] | 371
GoPro Data: Initial time shifted to match ignition (DVR Time) | GoPro Data: Initial time shifted to match ignition (DVR Time)
Experiment | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 13 |  | 14 |  | 15 |  | 16 |  | 17 |  | 18 |  | 19 |  | 20 |  | 21 |  | 22 |  | 23 |  | 24
Time shift from DVR to GoPro [sec] | 974 |  | 200 |  | 358 |  | 348 |  | 69 |  | 109 |  | 39 |  | 93 |  | 172 |  | 167 |  | 37 |  | 345 |  | 52 |  | 261 |  | 30 |  | 59 |  | 208 | 511 | 272 |  | 35 |  | 356 |  | 20 |  | 264 |  | 593 |  | 463
Front Door Open Time [sec] |  |  | 425 |  | 507 |  | 505 |  | 416 |  | 479 |  | 356 |  | 326 |  | 327 |  | 327 |  | 380 |  | 356 |  | 340 |  | 385 |  | 339 |  | 323 |  | 327 |  |  |  | 538 |  | 442 |  | 385
Enter Structure Time [sec] | 1607 |  | 438 |  | 509 |  | 518 |  | 428 |  | 493 |  | 368 |  | 338 |  | 338 |  | 338 |  | 391 |  | 807 |  | 352 |  | 398 |  | 340 |  | 332 |  | 630 |  | 342 |  | 550 |  | 453 |  | 424 |  | 371 |  | 348 |  | 389
Short Burst Time [sec] |  |  | 443 |  | 513 |  | 522 |  | 434 |  | 498 |  | 373 |  | 344 |  | 344 |  | 344 |  | 398 |  | 811 |  | 355 |  | 402 |  | 344 |  | 337 |  | 635 |  | 346 | [7 empty] | 375
Short Burst End Time [sec] |  |  | 444 |  | 514 |  | 523 |  | 436 |  | 499 |  | 374 |  | 345 |  | 345 |  | 345 |  | 399 |  | 812 |  | 356 |  | 403 |  | 345 |  | 338 |  | 637 |  | 347 | [7 empty] | 376
Open Time [sec] | 1616 |  | 456 |  | 525 |  | 535 |  | 446 |  | 507 |  | 384 |  | 352 |  | 353 |  | 353 |  | 408 |  | 819 |  | 371 |  | 410 |  | 356 |  | 348 |  | 647 |  | 367 |  | 574 | [5 empty] | 384 |  | 358
Close Time [sec] | 1622 |  | 493 |  | 535 |  | 569 |  | 455 |  | 514 |  | 416 |  | 359 |  | 375 |  | 360 |  | 437 |  | 826 |  | 414 |  | 417 |  | 362 |  | 387 |  | 719 |  | 373 |  | 581 | [5 empty] | 394 |  | 366
Open Time [sec] | 1628 |  |  |  | 543 |  |  |  | 474 |  | 521 |  |  |  | 367 |  |  |  | 367 |  |  |  | 831 |  |  |  | 424 |  | 369 | [13 empty] | 408 |  | 382
Close Time [sec] | 1632 |  |  |  | 551 |  |  |  | 487 |  | 528 |  |  |  | 374 |  |  |  | 374 |  |  |  | 865 |  |  |  | 433 |  | 378 | [13 empty] | 418 |  | 399
Open Time [sec] | 1637 |  |  |  | 562 | [5 empty] | 537 |  |  |  | 383 |  |  |  | 382 | [7 empty] | 441 |  | 387 | [13 empty] | 426 |  | 408
Close Time [sec] | 1642 |  |  |  | 572 | [5 empty] | 547 |  |  |  | 392 |  |  |  | 394 | [7 empty] | 450 |  | 404 | [13 empty] | 431 |  | 419
Transitional - Window B1 Burst Time [sec] | [34 empty] | 325 |  | 510 |  | 412 |  | 404 |  | 342 |  | 324 |  | 328
Transitional - Window B1 Burst End Time [sec] | [34 empty] | 336 |  | 517 |  | 415 |  | 410 |  | 354 |  | 341 |  | 333
Transitional - Window B1 Whip Time [sec] | [36 empty] | 519 |  | 418 |  | 412 |  | 358 |  |  |  | 335
Transitional - Window B1 Whip End Time [sec] | [36 empty] | 529 |  | 425 |  | 418 |  | 364 |  |  |  | 340
Transitional - Window B2 Burst Time [sec] | [46 empty] | 357
Transitional - Window B2 Burst End Time [sec] | [46 empty] | 363
Transitional - Window B2 Whip Time [sec] | [46 empty] | 365
Transitional - Window B2 Whip End Time [sec] | [46 empty] | 371
Additional Tranisitonal - Window B1 Burst FOG Time [sec] | [36 empty] | 325
Additional Tranisitonal - Window B1 Burst FOG End Time [sec] | [36 empty] | 336

## Final Shifted Data
Observed Data
DVR Data: Initial time shifted to match ignition
GoPro Data: Initial time shifted to match ignition (DVR Time)
Experiment | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
Ventilation Configuration | No Vent | No Vent | No Vent | No Vent | No Vent | No Vent | Single Vent | Single Vent | Single Vent | Single Vent | Single Vent | Single Vent | Two Vent | Two Vent | Two Vent | Two Vent | Two Vent | Single Vent | Single Vent | Single Vent | Single Vent | Two Vent | Two Vent | Two Vent
Tactic | Interior | Interior | Interior | Interior | Interior | Interior | Interior | Interior | Interior | Interior | Interior | Interior | Interior | Interior | Interior | Interior | Interior | Exterior | Exterior | Exterior | Exterior | Exterior | Exterior | Exterior
Tactic Detail | Shut and Move (Delayed) | Flow and Move | Shut and Move | Flow and Move | Shut and Move | Shut and Move | Flow and Move | Shut and Move | Flow and Move | Shut and Move | Flow and Move | Flow and Move (Delayed) | Flow and Move | Shut and Move | Shut and Move | Flow and Move | Flow and Move (Delayed) | No Whip | Fog Whip (Delayed) | Half Bale Whip | Half Bale Whip | Half Bale Whip | Occlude Opening 1 Window | Fog Whip Both Rooms
Ignition Source | Bedroom 1 | Bedroom 1 | Bedroom 1 | Bedroom 1 | Bedroom 1 | Bedroom 1 | Bedroom 1 | Bedroom 1 | Bedroom 1 | Bedroom 1 | Bedroom 1 | Bedroom 1 | Bedroom 1 Bedroom 2 | Bedroom 1 Bedroom 2 | Bedroom 1 Bedroom 2 | Bedroom 1 Bedroom 2 | Bedroom 1 Bedroom 2 | Bedroom 1 | Bedroom 1 | Bedroom 1 | Bedroom 1 | Bedroom 1 Bedroom 2 | Bedroom 1 Bedroom 2 | Bedroom 1 Bedroom 2
Open Front Door Time [sec] | 497 | 425 | 507 | 505 | 415 | 479 | 356 | 326 | 327 | 327 | 380 | 356 | 340 | 385 | 339 | 323 | 327 | 335 | 538 | 442 | 385 | 367 | 341 | 376
Open Window Time [sec] | 1822 | 696 | 756 | 524 | 642 | 540 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Enter Structure Time [sec] | 1607 | 437 | 508 | 517 | 427 | 493 | 367 | 339 | 338 | 338 | 390 | 808 | 351 | 398 | 340 | 333 | 630 | 342 | 549 | 454 | 425 | 371 | 348 | 389
Positioned at Top of Hallway Time [sec] | 1613 | 447 | 517 | 527 | 438 | 502 | 376 | 349 | 348 | 347 | 401 | 815 | 362 | 406 | 347 | 342 | 640 | 349 | 557 | 458 | 430 | 380 | 362 | 396
Positioned at End of Hallway Time [sec] |  | 487 | 558 | 552 | 470 | 534 | 398 | 381 | 367 | 379 | 424 | 853 | 405 | 456 | 387 | 368 | 689 | 364 | 570 | 472 | 444 | 423 | 397 | 410
Short Burst Time [sec] |  | 441 | 513 | 522 | 434 | 497 | 372 | 344 | 344 | 344 | 398 | 811 | 356 | 401 | 343 | 337 | 635 | 345 | 554 |  |  | 375 | 355
Short Burst End Time [sec] |  | 444 | 514 | 523 | 436 | 499 | 374 | 346 | 345 | 345 | 399 | 812 | 357 | 402 | 345 | 338 | 637 | 346 | 555 |  |  | 376 | 356
Open Time [sec] | 1616 | 456 | 525 | 535 | 446 | 507 | 384 | 353 | 353 | 353 | 408 | 820 | 372 | 410 | 356 | 349 | 647 | 367 | 574 |  |  | 384 | 358
Close Time [sec] | 1622 | 493 | 535 | 569 | 455 | 513 | 416 | 360 | 375 | 360 | 437 | 826 | 414 | 417 | 362 | 387 | 769 | 373 | 581 |  |  | 394 | 366
Open Time [sec] | 1628 |  | 543 |  | 474 | 520 |  | 367 |  | 367 |  | 831 |  | 424 | 369 | [6 empty] | 408 | 382
Close Time [sec] | 1632 |  | 551 |  | 487 | 527 |  | 374 |  | 373 |  | 865 |  | 433 | 378 | [6 empty] | 418 | 399
Open Time [sec] | 1637 |  | 562 |  |  | 537 |  | 384 |  | 382 |  |  |  | 440 | 387 | [6 empty] | 426 | 408
Close Time [sec] | 1642 |  | 572 |  |  | 547 |  | 392 |  | 394 |  |  |  | 451 | 404 | [6 empty] | 431 | 419
Transitional - Window B1 Burst Time [sec] | [17 empty] | 325 | 510 | 412 | 404 | 342 | 324 | 328
Transitional - Window B1 Burst End Time [sec] | [17 empty] | 335 | 517 | 415 | 410 | 354 | 341 | 333
Transitional - Window B1 Whip Time [sec] | [18 empty] | 518 | 418 | 412 | 357 | 325 | 335
Transitional - Window B1 Whip End Time [sec] | [18 empty] | 528 | 425 | 418 | 364 | 340 | 341
Transitional - Window B2 Burst Time [sec] | [23 empty] | 357
Transitional - Window B2 Burst End Time [sec] | [23 empty] | 363
Transitional - Window B2 Whip Time [sec] | [23 empty] | 365
Transitional - Window B2 Whip End Time [sec] | [23 empty] | 371
Additional Tranisitonal - Window B1 Burst FOG Time [sec] | [18 empty] | 325
Additional Tranisitonal - Window B1 Burst FOG End Time [sec] | [18 empty] | 336
Calculated Results
Time [sec] to reach victim 4 lcoation from initial action | 1113 | 22 | 12 | 20 | 21 | 23 | 16 | 28 | 21 | 20 | 22 | 459 | 25 | 21 | 20 | 19 | 312 | 27 | 234 | 49 | 47 | 36 | 36 | 102
Time [sec] to reach victim 1 location from initial action | 1172 | 79 | 54 | 54 | 59 | 60 | 40 | 58 | 42 | 55 | 45 | 494 | 57 | 55 | 52 | 45 | 335 | 46 | 250 | 62 | 61 | 77 | 67 | 71
Total Time [sec] of Exterior Flow | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 10 | 18 | 13 | 14 | 22 | 16 | 43
Total Time [sec] of Interior Flow | 26 | 37 | 47 | 34 | 41 | 40 | 32 | 39 | 22 | 41 | 29 | 45 | 42 | 41 | 48 | 38 | 122 | 6 | 7 | - | - | 47 | 61 | -
Travel Time [sec] from Exterior Window to Interior Entry (Final Flow - Entry) | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 7 | 21 | 29 | 7 | 7 | 8 | 18
Travel Time [sec] from Entry to Top of Hall | 6 | 10 | 9 | 10 | 11 | 9 | 9 | 10 | 10 | 9 | 11 | 7 | 11 | 8 | 7 | 9 | 10 | 7 | 8 | 4 | 5 | 9 | 14 | 7
Travel Time [sec] from top of hallway to end of hallway |  | 40 | 41 | 25 | 32 | 32 | 22 | 32 | 19 | 32 | 23 | 38 | 43 | 50 | 40 | 26 | 49 | 15 | 13 | 14 | 14 | 43 | 35 | 14
"Door Read" Time [sec] (Open Door - Entrance) | 1110 | 12 | 1 | 12 | 12 | 14 | 11 | 13 | 11 | 11 | 10 | 452 | 11 | 13 | 1 | 10 | 303 | 7 | 11 | 12 | 40 | 4 | 7 | 13
Total tactic Time [sec] (end of hall or end of flow - entrance or exterior flow) | 35 | 56 | 64 | 52 | 60 | 54 | 49 | 53 | 37 | 56 | 47 | 57 | 63 | 53 | 64 | 54 | 139 | 48 | 71 | 60 | 40 | 89 | 95 | 82
| 54.875 | 61.5556 | [15 empty] | 59.5 |  | 60.6667 |  | 92